## Slide 1
Generate GSH standard curve. Plot OD (abs @ 412 nm) on x, GSH (nmol) on y. Fit linear model and note equation.
Measure CS activity on spec. Generate graph of time (x) vs. OD (y). Find linear region and note the bounds (Tmin, Tmax, ODmin , ODmax). Calcuate delta OD and delta T:
Input the result of Eq.2 as the OD in Eq. 1 to convert to nmol (=B)
Use the Eq. 4 to calculate sample activity:
Where V is the volume that was loaded in the assay, D is the dilution factor (if applicable), and the P is the total protein extracted (protein concentration (mg/ul)